	
	Page | 1

	

	
	
	

	
	
	



	
	
	
	
	
	
	
	

	
	PAOLI WATER DEPARTMENT

	

	
	
	
	
	
	
	
	

	Public Water Supply ID: IN5259004   

	

	
	
	
	
	
	
	
	

	
	Consumer Confidence Report

	

	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	2025 CCR

	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	The following pages comprise the Annual Consumer Confidence Report (CCR) for your water system.
Important Information!
In order to meet all the requirements of the CCR, you must include the following additional information if it pertains to your water system.
*  The report must include the telephone number of the owner, operator, or designee of the community water system as a source of additional information concerning the report.
*  In communities with a large proportion of non-English speaking residents, as determined by the Primacy Agency, the report must contain information in the appropriate language(s) regarding the importance of the report or contains a telephone number or address where such residents may contact the system to obtain a translated copy of the report and/or assistance in the appropriate language.
*  The report must include information about opportunities for public participation in decisions that may affect the quality of the water (e.g., time and place of regularly scheduled board meetings).
*  If your water system purchases water from another source, you are required to include the current CCR year's Regulated Contaminants Detected table from your source water supply.
*  If your water system had any violations during the current CCR Calendar year, you are required to include an explanation of the corrective action taken by the water system.
*  If your water system is going to use the CCR to deliver a Public Notification, you must include the full public notice and return a copy with the CCR.  This is in addition to the copy and certification form required by the CCR Rule.
*  The information about likely sources of contamination provided in the CCR is generic. Specific information regarding contaminants may be available in sanitary surveys and source water assessments and should be used when available to the operator.
*  If a community water system distributes water to its customers from multiple hydraulically independent distribution systems fed by different raw water sources, the table should contain a separate column for each service area, and the report should identify each separate distribution system.  Alternatively, systems may produce separate reports tailored to include data for each service area.
*  Detections of unregulated contaminants for which monitoring is required are not included in the CCR and must be added.  When added, the information must include the average and range at which the contaminant was detected.
*  If a water system has performed any monitoring for Cryptosporidium, including monitoring performed to satisfy the requirements of the Information Collection Rule [ICR] (141.143), which indicates that Cryptosporidium may be present in the source water or the finished water, the report must include: (a) a summary of the results of the monitoring; and (b) an explanation of the significance of the results.
*  If a water system has performed any monitoring for radon which indicate that radon may be present in the finished water, the report must include: (a) The results of the monitoring; and (b) An explanation of the significance of the results.
*  If a water system has performed additional monitoring which indicates the presence of other contaminants in the finished water, EPA strongly encourages systems to report any results which may indicate a health concern.  To determine if results may indicate a health concern, EPA recommends that systems find out if EPA has proposed an NPDWR or issued a health advisory for that contaminant by calling the Safe Drinking Water Hotline (800-426-4791).  EPA considers detects above a proposed MCL or health advisory level to indicate possible health concerns.  For such contaminants, EPA recommends that the report include: (a) the results of the monitoring; and (b) an explanation of the significance of the results noting the existence of a health advisory or a proposed regulation.
*  If you are a groundwater system that receives notice from a state of a significant deficiency, you must inform your customers in your CCR report of any significant deficiencies that are not corrected by December 31 of the year covered by it.  The CCR must include the following information:
      -  The nature of the significant deficiency and the date it was identified by the state.
      -  If the significant deficiency was not corrected by the end of the calendar year, include information regarding the State-approved plan and schedule for correction, including interim measures, progress to date, and any interim measures completed.
     -  If the significant deficiency was corrected by the end of the calendar year, include information regarding how the deficiency was corrected and the date it was corrected.
Note:
These first pages are only instructions and are not part of your CCR.  The pages that follow and are numbered in the upper right-hand corner are the report pages.

	

	
	
	
	
	
	
	
	

	
	
	
	
	
	


	
	
	
	
	
	
	
	
	

	
	Annual Drinking Water Quality Report

	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	PAOLI WATER DEPARTMENT

	
	
	

	
	
	Public Water System ID: IN5259004   

	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	We are pleased to present to you the Annual Water Quality Report (Consumer Confidence Report) for the year, for the period of January 1 to December 31, 2025.  This report is intended to provide you with important information about your drinking water and the efforts made by the water system to provide safe drinking water. (Este informe contiene información muy importante sobre su agua potable. Tradúzcalo o hable con alguien que lo entienda bien).
Paoli Town Council Meeting are on the 1st and 3rd Tuesdays of each month at 10:00 am at the Paoli Town Hall located at 110 North Gospel Street, Paoli, IN

For more information regarding this report, contact:       
Name: Wesley Reynolds
Phone: 812-723-2739 
 
Sources of Drinking Water
PAOLI WATER DEPARTMENT is Purchased surface water.
Our water source(s) and source water assessment information are listed below:

	

	
	
	
	
	
	
	
	
	

	
	
	
	Source Name
Type of Water
Report Status
Location
PATOKA LAKE REGIONAL- IN5219012
Surface water
Active
IN RT 37 South, Sandyhook Road, and Unionville Road 

	

	
	
	
	
	
	
	
	
	

	
	
	The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity. 
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791. Contaminants that may be present in source water include:
There is no safe level of lead in drinking water. Exposure to lead in drinking water can cause serious health effects in all age groups, especially pregnant people, infants (both formula-fed and breastfed), and young children. Some of the health effects to infants and children include decreases in IQ and attention span. Lead exposure can also result in new or worsened learning and behavior problems. The children of persons who are exposed to lead before or during pregnancy may be at increased risk of these harmful health effects. Adults have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Contact your health care provider for more information about your risks.
Microbial Contaminants - such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
Inorganic Contaminants - such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming.
Pesticides and Herbicides - which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.
Organic Chemical Contaminants – including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.
Radioactive Contaminants – which can be naturally-occurring or be the result of oil and gas production and mining activities.
In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.
Some people may be more vulnerable to contaminants in drinking water than the general population.
Contaminants may be found in drinking water that may cause taste, color, or odor problems.  These types of problems are not necessarily causes for health concerns.  For more information on taste, odor, or color of drinking water, please contact the system's business office.
Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).
If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.
In the tables below, you will find many terms and abbreviations you might not be familiar with.  To help you better understand these terms, we’ve provided the following definitions:
Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.
Action Level Goal (ALG): The level of a contaminant in drinking water below which there is no known or expected risk to health. ALGs allow for a margin of safety.
Level 1 Assessment: A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.
Level 2 Assessment: A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.
Maximum Contaminant Level or MCL: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.
Maximum Contaminant Level Goal or MCLG: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.
Maximum residual disinfectant level goal or MRDLG: The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.
Maximum residual disinfectant level or MRDL: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.
Treatment Technique or TT: A required process intended to reduce the level of a contaminant in drinking water.
Variances and Exemptions: State or EPA permission not to meet an MCL or a treatment technique under certain conditions.
Avg: Average - Regulatory compliance with some MCLs are based on running annual average of monthly samples.
LRAA: Locational Running Annual Average
mrem: millirems per year (a measure of radiation absorbed by the body)
ppb: micrograms per liter (ug/L) or parts per billion - or one ounce in 7,350,000 gallons of water.
ppm: milligrams per liter (mg/L) or parts per million - or one ounce in 7,350 gallons of water
picocuries per liter (pCi/L): picocuries per liter is a measure of the radioactivity in water.
na: not applicable.

	

	
	
	
	
	
	
	
	
	

	
	
	


	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	Our water system tested a minimum of 4 sample(s) per month in accordance with the Total Coliform Rule for microbiological contaminants.  With the microbiological samples collected, the water system collects disinfectant residuals to ensure control of microbial growth.

	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	Disinfectant
Date
Highest RAA
Unit
Range
MRDL
MRDLG
Typical Source
CHLORINE                                
2025
3
ppm
 - 
4
4
Water additive used to control microbes

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	 Regulated Contaminants
In the tables below, we have shown the regulated contaminants that were detected. Chemical Sampling of our drinking water may not be required on an annual basis; therefore, information provided in this table refers back to the latest year of chemical sampling results.

	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	Unregulated Contaminant Monitoring Rule (UCMR)
Collection Date of HV
Highest Value (HV)
Range of Sampled Result(s)
Unit

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	Lead and Copper
Period
90TH Percentile: 90% of your water utility levels were less than
Range of Sampled Results
(low - high)
Unit
AL
Sites Over AL
Typical Source
COPPER, FREE
2023 – 2026
0.117
0.00799 - 0.166
ppm
1.3
0
Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives
LEAD                                    
2023 – 2026
0
1.21 - 1.24
ppb
15
0
Corrosion of household plumbing systems; Erosion of natural deposits

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	Disinfection Byproducts
Sample Point 
Period
Highest LRAA
Range
Unit
MCL
MCLG
Typical Source
TOTAL HALOACETIC ACIDS (HAA5)
TOWN HALL
2024 – 2025
36.6
25 – 46.9
ppb
60
0
By-product of drinking water disinfection
TOTAL HALOACETIC ACIDS (HAA5)
WINDSOR MANOR
2024 – 2025
35.8
26 – 41.7
ppb
60
0
By-product of drinking water disinfection
TTHM
TOWN HALL
2024 – 2025
39.5
21 - 45
ppb
80
0
By-product of drinking water chlorination
TTHM
WINDSOR MANOR
2024 - 2025
41.8
24 - 46
ppb
80
0
By-product of drinking water chlorination

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	Regulated Contaminants
Collection Date
Highest Value
Range
Unit
MCL
MCLG
Typical Source

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	Violations
During the period covered by this report we had the below noted violations.
Violation Period
Analyte
Violation Type
Violation Explanation
No violations during this period.

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	There are no additional required health effects notices.

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	There are no additional required health effects violation notices.

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	Deficiencies
Unresolved significant deficiencies that were identified during a survey done on the water system are shown below.
Date Identified
Facility
Code
Activity
Due Date
Description
No deficiencies during this period.

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	Reseller Contaminants

	
	
	

	
	
	
	
	
	Regulated Contaminants
Collection Date
Water System
Highest  Sample Result
Range of Sampled Result(s)
(low - high)
Unit
MCL
MCLG
Typical Source
ATRAZINE
2/4/2025
PATOKA LAKE REGIONAL WATER
0.11
0 - 0.11
ppb
3
3
Runoff from herbicide used on row crops
BARIUM
8/4/2025
PATOKA LAKE REGIONAL WATER
0.025
0.025
ppm
2
2
Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits
FLUORIDE
8/4/2025
PATOKA LAKE REGIONAL WATER
0.42
0.42
ppm
4
4
Erosion of natural deposits;  Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories 

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	Disinfection Byproducts
Monitoring Period
Water System
Highest LRAA
Range of Sampled Result(s)
(low - high)
Unit
MCL
MCLG
Typical Source
TOTAL HALOACETIC ACIDS (HAA5)
2024 – 2025
PATOKA LAKE REGIONAL WATER
34
25 – 37
ppb
60
0
By-product of drinking water disinfection
TOTAL HALOACETIC ACIDS (HAA5)
2024 – 2025
PATOKA LAKE REGIONAL WATER
35
25 – 43.5
ppb
60
0
By-product of drinking water disinfection
TOTAL HALOACETIC ACIDS (HAA5)
2024 – 2025
PATOKA LAKE REGIONAL WATER
32
4.5 – 40
ppb
60
0
By-product of drinking water disinfection
TOTAL HALOACETIC ACIDS (HAA5)
2024 – 2025
PATOKA LAKE REGIONAL WATER
38
22.5 – 38
ppb
60
0
By-product of drinking water disinfection
TTHM
2024 - 2025
PATOKA LAKE REGIONAL WATER
41
22.3 - 46
ppb
80
0
By-product of drinking water chlorination
TTHM
2024 – 2025
PATOKA LAKE REGIONAL WATER
43
21.3 – 48.2
ppb
80
0
By-product of drinking water chlorination
TTHM
2024 - 2025
PATOKA LAKE REGIONAL WATER
42
21.7 – 46.1
ppb
80
0
By-product of drinking water chlorination
TTHM
2024 - 2025
PATOKA LAKE REGIONAL WATER
40
21.4 – 42.4
ppb
80
0
By-product of drinking water chlorination

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	Water System Name
Determination Date
Deficiency Description
Comments

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	Additional Required Health Effects Language from Purchases:
Some people who drink water containing Haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer.

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	Reseller Violations and Health Effects Information

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	During the 2024 calendar year, the water system(s) that we purchase water from had the below noted violation(s) of drinking water regulations.

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	Water  System
Type
Category
Analyte
Compliance Period

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	There are no additional required health effects violation notices  from Purchases.

	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	


**Additional required health effects information you should know about:

UCMR5:

· Paoli Water Department PWSID#IN5259004 has sampled for a series of Unregulated Contaminants. Unregulated Contaminants are those that do not yet have a drinking water standard set by the EPA. The purpose of monitoring these contaminants is to help the EPA decide whether the contaminants should have a standard. As our customers, you have a right to know that these data are available. If you are interested in examining the results, please contact our office (812) 723-2739, by email at: wateroperator@paoli.in.gov, or by mail, 110 North Gospel Street Paoli, IN 47454.

Lead Service Line Inventory:
· In 2025, Notification letters were sent out to customers having galvanized or unknown water service lines. 195 customer water service lines were identified as candidates for further investigation and possible replacement through grant funding provided by the State of Indiana. The project information can be accessed on the Town of Paoli website https://paoli.in.gov/utility/.
· You can access the searchable Indiana statewide database for Paoli Water by clicking on the following IDEM Public Transparency Dashboard link: https://pws-ptd.120wateraudit.com/Paoli-IN If you wish to learn more about this initiative, please contact our office.
**Additional required health effects information . . . (Continued):
· Copper is an essential nutrient, but some people who drink water containing Copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing Copper in excess of the action level over many years can suffer liver or kidney damage.
· Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful bacteria may be present.  Coliforms were found in more samples than allowed and this was a warning of potential problems. NOTE: The verification sample and adjacent upstream and downstream samples tested negative for Coliforms.
· Some people who drink water containing Haloacetic acids (HAA5s) in excess of the MCL over many years may have an increased risk of getting cancer.

· For healthy individuals, sodium intake from water is relatively insignificant because a much greater intake of sodium comes from salt in the diet. However, sodium levels above the recommended upper limit may be of concern to individuals on a sodium-restricted diet.

	
	
	

	
	2025 Consumer Confidence Report - PAOLI WATER DEPARTMENT Public Water Supply ID: IN5259004   

	

	
	
	



